**Q&A**

**Downtown Streetlight Purchase RFP**

**As of July 19, 2023**

Below are the questions received by the Town as of the date listed above and the corresponding answers (in red):

1. **Can you tell me how you are proposing to dim the lights?**We are looking for a dimmer switch/knob in the fixture.
2. **Are you looking for a LED array built into the fixture, or a fixture equipped with an incandescent socket in order to screw in a LED lamp?** We are looking for the LED array to be built into the fixture.
3. **Do you have any details on the type of pole that you would like?**

Durable cast aluminum with a rust-free black powder coat finish preferred. As the bid packet states, there are 10-foot and 12-foot poles needed. Please see bid packet for more details on how many of each.

1. **Are you trying to match a similar look to the existing poles?**

The town would like a look that compliments the historic nature of Emmitsburg. The look does not need to match.

1. **Is there interest in an option to provide a wireless fiber smart city solution through lighting for applications such as public Wi-Fi, cameras and other IoT services?**

Not at this time.

1. **What was the wattage for the original bulbs in the existing lights?**

The original bulbs were 150 watt high pressure sodium.

1. **Since we have many options for lighting, can I submit two options for review?  One would be very similar to the existing lighting and the other would be full cut off?**

Yes, submitting two options is fine.

1. **Is there any way you can provide a photo of the bulbs that are currently in use with any product detail (brand, sku, specs, etc.)?**

See photo below.

A light on a table

Description automatically generated